# GULBARGA ELECTRICITY SUPPLY COMPANY LIMITED

# (A Government of Karnataka Enterprise)

Bid Enq. No: GESCOM / CEE (O)/SEE(Project)/EEE/AEE/65/2022-23/13847-874 Dtd:14.06.2022.

TENDER (NIT)

(Through e-procurement Portal only)

Gulbarga Electricity Supply Company Limited, Corporate Office, Kalaburagi – 585102 invites “Design, Manufacture, Supply, Installation, Testing and Commissioning of Solar RTPV Grid connected power plants aggregating 468 kWp on roof top of Govt. School Buildings in Ballari Zone comprising of (Ballari, Vijayanagara, Koppal and Raichur Districts including operation and maintenance for a period of TEN years on Total Turnkey Basis under 13th Finance Commission.

- PERIOD OF COMPLETION: 6 (six) Months including monsoon period from the date of issue of LOI.

- Amount put to tender: Rs. 2,65,75,380.00

- EMD:

| Sl.No | Base Price Arrived for 1 KWp (Inclusive of AMC for 10 years with all Taxes and duties | KWp allotted for Ballari Zone | Amount put to tender | EMD @1.5% |
| --- | --- | --- | --- | --- |
| 1. | 56,785 per kWp | 468 | 2,65,75,380.00 | Rs. 398631.00 |

Bids shall be accompanied by Bid Security/Ernest Money Deposit (EMD) for an amount of Rs. 398631/- (Three Lakhs Ninty Eight Thousand Six Hundred and Thirty-One only) The Payment shall be made as follows:

EMD shall be paid within the due date & time. The mode of payment of EMD shall be through any of the following four modes of payment:

1.	Credit Card

2.	Debit Card

3.	NEFT (National Electronic fund transfer)

4.	OTC (Over the Counter)

- e-payment modes mentioned in the e-procurement Portal.

- Government/Quasi Government/Public Sector Undertakings are not exempted from furnishing the EMD. However, GoI/ GoK undertakings like MECON, KAVIKA, MEI etc., are allowed to pay the stipulated EMD against individual bids in the form of Bank Guarantee.

4.  	PRE-QUALIFYING REQUIREMENT :-

QUALIFYING REQUIREMENTS (QR):

|  | Particulars | Valid Documents Requirement |
| --- | --- | --- |
| A. | TECHNICAL CRITERIA: |
| 1 | The lead bidder or their JV partner should possess a valid Class-I Electrical Contractor’s License issued by the Govt. of Karnataka or any other states as on the date of opening of the Techno Commercial bid. | The Valid Class-I Electrical license in original shall be scanned and uploaded. |
| 2 | The lead bidder or their JV partner shall be either a System Integrator or a module manufacturer or both. | A System Integrator shall upload Registration certificate of the company /firm issued by any State/ Central Government/Public sector utility issued by the competent authority stating that the firm is in solar business OR A Module manufacturer shall upload the Registration certificate for Manufacturing of PV Module issued by any State/ Central Government. |
| 3 | The Lead Bidder or their JV partner shall have installed & successfully completed the works of ON-Grid connected Solar Roof Top PV projects of atleast 50% of tendered quantity of Cumulative experience during preceding Five Financial Years (i.e. FY 2017-18, 2018-19, 2019-20, 2020-21 & 2021-22) for works carried out in any DISCOMS/state Govt./Central Govt./ Public sector undertakings in India. This shall be in satisfactory service for at least a period of one-year prior to the date of submission of bid. | The copies of Work Awards/PO’s/ Agreement shall be uploaded. Work completion certificates duly mentioning above details issued by an officer not below the rank of Executive Engineer or Equivalent rank. The Performance certificate for continuous one-year satisfactory functioning prior to date of submission of bid issued by an officer not below the rank of Executive Engineer or Equivalent rank. The bidder has to upload valid work completion certificate & Performance certificate. |
| 4 | The lead bidder shall upload documents of (a) EPF & ESI Registration certificate (b) PAN Card & (c) GST Registration certificate | Documents shall be uploaded. |
| 5 | The Lead Bidder and their JV partner shall not have been defaulted against any Work/Service against any of the previous Orders placed by any State / Central Government/Public sector under takings from last 05 Years as on the date of submission of bid. | The self-declaration of both lead bidder & JV partner shall be uploaded |
| 6 | The Lead Bidder and their JV partner shall not have been black listed by any State / Central Government / Public sector under takings from last 05 Years as on the date of submission of bid. | The self-declaration of both lead bidder & JV partner shall be uploaded |
| B | FINANCIAL CRITERIA: |
| 1 | The Minimum Average Annual Turnover (MAAT) of the Lead Bidder shall not be less than 50% of the Amount put to tender during preceding Three Financial Years FY 2019-20, 2020-21 & 2021-22. | Bidder should upload mandatorily all Audited Balance sheet, profit & loss accounts for the last three years (i.e. FY 2019-20 , 2020-21 & 2021-22) certified by Chartered Accountant shall be scanned and uploaded in original. |
| 2 | The Liquid assets of the Lead Bidder shall not be older than three months from the date of submission of bid consisting of cash at bank + term deposits + availability of credit facility issued by any Nationalized/Scheduled Indian Bank (enjoying credit facility) shall not be less than 25% of the amount put to the tender. The credit facility certificate as per Annexure-A issued by any Nationalized Bank/Scheduled Indian Bank addressed to the Chief Engineer Electy., (Operations), Corporate Office, GESCOM, Kalaburagi shall be scanned and uploaded in original. | (Note: The Bank credit facility without the name of the firm, Bid Enq. No. is liable for rejection. Conditional credit facility certificates are also liable for rejection). |
| 3. | If the bidder is participated more than one tender | The bidder participating in more than one tender, bid enquiry Nos. 64 & 65 dt:- 14.06.2022. Then the bidder shall full fill the above clause No. B1 & B2 (Financial qualifying requirements of the bidder) separately and fulfill the above conditions cumulatively for all the enquiries participated. If this condition is not met. Then the offer of the bidder will be considered to the enquiry for which the bidder is eligible starting from enquiry with highest amount put to tender to the enquiry with lowest amount put to tender. The bidder shall upload the self-declaration in this regard. |

Requirements of the Bidders:

  - A joint venture limited to a maximum of two constituents including the lead bidder. The Joint Venture can be between any two Entities located in India.

  - The bidder forming a Joint Venture of company must satisfy the pre-qualification criteria.

  - The bid shall be signed by both the members of the Joint Venture of companies so as to legally bind jointly. A copy of the Joint Venture agreement on non-judicial INR 200/- stamp paper satisfying the above conditions shall be uploaded.

  - A Joint Venture partner shall not be a partner to more than one bidder in this tendering process. In that case, both or all such offers will be rejected. In case a Lead Bidder becomes a joint venture partner of another bidder in the same tendering process in both, such offers will also be rejected.

  - The partners of a Joint Venture are not allowed to bid individually.

- GENERAL CONDITIONS:

- Bidder shall have adequate knowledge of the work proposed in the tender, design procedures including quality control and shall have infrastructure and erection facilities and capacity to execute the works.

- GESCOM reserves the right to offer a specific number of  Packages to Technically & Commercially qualified bidders keeping in view of quantitative requirements and the delivery and installation schedule offered by the Bidders.

- If there is any hindrances like building mechanical strength, space constrains etc. at the time of execution, GESCOM reserves the right to ADD/MODIFY/DELETE any of the Govt.. school buildings.

- During O & M period, If  the  successful  bidder having  been  notified  and fails  to  rectify  the defect(s) and restore the SPV Modules to good working condition within the period of 7 days, then a penalty of  Rs. 200/- per kw per day of the breakdown period will be levied. This will be deducted from the bills due.

- The bidder is at his liberty to conduct preliminary survey of the rooftop of building, where the proposed Solar RTPV panel is proposed to be erected and also L.T power supply connections with necessary equipments.

- The Bidder shall make all arrangements as part of the contract for design, manufacture, and supply, Installation, testing, Commissioning including warranty, operation and maintenance for a period of ten years and train the personnel at his own cost.

- The Bidder should be fully and completely responsible to GESCOM for all the deliveries and deliverables. The bidder shall be responsible for the proper functioning of the finally erected systems

- The successful bidder shall provide comprehensive operation & maintenance of the plant for a period of Ten (10) years from the date of successful commission.

- The successful bidder shall provide software app to monitor the day to day generation and MIS report to be submitted monthly to the GESCOM.

- The SPV module shall carry a warranty of minimum 25 years.

- The output of solar power system shall not degrade more than 10% in 10 years and 20% in 25 years evenly spread over the entire period.

- The successful bidder shall be required to meet minimum guaranteed generation with Performance Ratio (PR) at the time of commissioning and related Capacity Utilization Factor (CUF) as per the Direct Normal Irradiance (DNI) levels of the location during the O&M period. PR should be shown minimum of 75% at the time of inspection for initial project acceptance.  Minimum CUF of 15 % should be maintained for a period of 10 years for release of performance BG. The bidder should send the periodic plant output details to GESCOM for ensuring the CUF.  The PR will be measured at Inverter output level during peak radiation conditions

- The successful bidder shall guarantee a minimum generation of 5 units per Kwp per day or as per MNRE norms for a minimum of 300 days in a calendar year failing which penalty on the generation shortfall units at 2 times the Solar tariff applicable for Roof top and Small solar PV Plants as notified KERC will be levied, if short fall is because of the defective components

- Monitoring of solar generation and levy of Penalty for any short falls shall be with Divisional Executive Engineers concerned

- The Bidder shall provide the Data logger for providing Automatic data regarding SRTPV generation with frequency as insisted by GESCOM including the load curves for daily solar generation of both AC and DC with analytics in case Solar generation falls below baseline and to   ensure 100% efficiency of panels as per design, after allowing natural degradations.

- The bidder shall furnish automatic data for solar generation on both AC and DC by installing suitable switch to the Desktop of personal computer identified in the building.

E.	PUBLIC SECTOR COMPANIES:

Public owned enterprises domiciled in the owner/Lessee country may be eligible to qualify if, in addition to meeting all the above requirements, and also:

- Are commercially oriented Legal Entities distinct from the   owner/Lessee, and are not a Government department.

- Are financially autonomous, as demonstrated by requirements in their constitutions to provide separate audited accounts and return on capital, powers to raise loans and obtain Revenues through the sale of goods or services and,

- Are managerially autonomous.

- PSUs shall note that no preference/advantage of whatever nature will be given in evaluation/comparison of bids and in Award of Contract.

# 6.0 	Bid Documents:

Bid documents in the following format will be available on the web site on or after 20.06.2022.

VOLUME- I     -   COMMERCIAL REQUIREMENTS, TECHNICAL

REQUIREMENTS. QUALIFYING REQUIREMENTS

VOLUME- II     -   Technical Specifications.

- Calendar of Events:

| Calendar of Events: |
| --- |
| Last date for submission of queries | 20.07.2022 @ 17:00 hrs |
| Pre-Bid meeting | 22.07.2022 @ 11.00 Hrs. |
| Last date for submission of bids | 27.07.2022 @ 17.00 Hrs. |
| Opening of Technical bids | 29.07.2022 @ 11.00 Hrs. |
| Opening of price bids | 01.08.2022 @ 11.00 Hrs |

- The Bids are invited and to be submitted through e-procurement mode only. The Bid Notification, Bidding Documents are available on https://eproc.karnataka.gov.in. Bidders can download the bid documents from the e-procurement portal (www.eproc.karnataka.gov.in)

- In addition, when submitting bids via the e-procurement Portal, Tender Processing Fee must be paid and this is payable on the e-procurement Portal https://eproc.karnataka.gov.in.

- The prospective Bidders may obtain further information from the office of Chief Engineer Electy., (Operations), Corporate Office, GESCOM, Kalaburagi – 585102 during the office hours. 9731699613. ceecp2@gmail.com and gescom.seprojects@gmail.com.

- For obtaining user ID & Password, e-procurement clarification/problems

E-procurement Help Desk		:	080-25501216

:	080-25501227

Chief Engineer Electy.,

(Operations)

GESCOM, Kalaburagi

# Text boxes

Office of the Chief Engineer Electy., (Operations), Corporate Office, GESCOM, Kalaburagi,

Pin Code.585 102.

## Phone No :( 08472) 255030

E-mail: cecp2@gmail.com

gescom.seprojects@gmail.com